## works
NO | NAME | UNIT
1 | Piling Works
1.1 | Ø 650 R/C Bored Piles including cut-off and testing | m
1.2 | Ø 800 R/C Bored Piles including cut-off and testing | m
1.3 | Ø 600 Jet Grout including testing | m
1.4 | Steel Sheet Piling (150 kg/m2) | m2
1.5 | Ø 300 PC Conrete Piles including testing | m
2 | Earth Works
2.1 | Site survey & Geotech. Survey & Report | m2
2.2 | Vegatative top soil removal, aprrox-30 cm depth ,transport within 2 km and dump. | m3
2.3 | Site levelling (within 1 meter elevation differance) | m2
2.4 | Excavation (non rocky) in any depth(including shoring-dewatering-baricating and all necessary works)- transportation and dump within 2 km. | m3
2.5 | Excavation (rock) in any depth(including shoring-dewatering-baricating and all necessary works)- transportation and dump within 2 km. | m3
2.6 | Hand Excavation (non rocky) in any depth(including shoring-dewatering-baricating and all necessary works)- transportation and dump within 2 km. | m3
2.7 | Soil Improvement with stable non cohesive selected fill (soaked CBR>30) compacted to 95% Proctor(imported material) | m3
2.8 | Additional fill to raise the area level (CBR>8 compacted to 95% proctor) with excavated material | m3
2.9 | Additional fill to raise the area level (CBR>8 compacted to 95% proctor) with imported material | m3
2.10 | Backfilling and compaction with imported material(Type A) | m3
2.11 | Backfilling and compaction with excavated material | m3
2.12 | Sand filling for trench, membrane protection etc. | m3
2.13 | 75mm thick gravel layer | m2
2.14 | Gravel Roads(6 meterwide, 0,2m thick-including compaction) | m2
2.15 | Supply and Installation of Non-woven Geotextile 0.2 - 0.4 kg/m2 | m2
2.16 | Transportation and disposal of excavated material within 10 km | m3
3 | Concrete Works
3.1 | C12/15 Lean Concrete(including formwork) | m3
3.2 | C30/37 Concrete for equipment foundations | m3
3.3 | C30/37 Concrete for columns any hight | m3
3.4 | C30/37 Concrete for beams any hight | m3
3.5 | C30/37 Concrete for Walls any hight | m3
3.6 | C30/37 Concrete for Slabs any hight | m3
3.7 | C30/37 Concrete for Ground Slabs without screed | m3
3.8 | C30/37 Concrete for Ground Slabs with screed | m3
3.9 | C20/25 Concrete for Pavement | m3
3.10 | C25/30 Concrete for Road works | m3
3.11 | Non Shrink Grouting Under steel columns & equipments&pockets | m3
3.12 | Levelling&Sloping Concrete-screed (max 70 mm thick.) | m3
3.13 | Cement Grouting | m3
3.14 | Transportation & Installation of Precast Items | m3
4 | Formwork Works
4.1 | Formwork (any type-any height-including all supports&scaffolding) | m2
5 | Reinforcement Works
5.1 | Ribbed Bars as per EN10080 fyk=400to600MPa | t
5.2 | Wire mesh Q188x188x6.5 | m2
6 | Embedded Steel Works
6.1 | Embedded Plates, Profiles etc. | t
6.2 | M24 Anchorbolts Grade 5.6 | no.
6.3 | M30 Anchorbolts Grade 5.6 | no.
6.4 | M42 Anchorbolts Grade 5.6 | no.
6.5 | M56 Anchorbolts Grade 5.6 | no.
6.6 | M64 Anchorbolts Grade 5.6 | no.
7 | Structural Steel Works
7.1 | Steel profiles, plates | t
7.2 | Transformer Rails | m
7.3 | Switchyard steel structure | t
7.4 | Anti-Corrosion Coating for Steel Structures | m2
7.5 | Fire Proof Coating for Steel Structures | m2
8 | Secondary Steel Works
8.1 | S235JR CHS handrail with kick plates (w=18.0kg/m) | m
8.2 | S235JR CHS handrail without kick plates (w=13.5kg/m) | m
8.3 | Steel Grating 34/38 pitch t=3mm, h=30mm | m2
8.4 | S235JR 8mm chequered plate | m2
8.5 | 1000mm wide grating type stair step | no.
8.6 | Steel Ladder with security cage | m
8.7 | Steel Ladder without security cage | m
9 | Architectural Works (Cladding)
9.1 | Galvanized Steel Single Sheet Uninsulated Roof Cladding | m2
9.2 | Galvanized Steel Double Sheet Insulated Roof Cladding, including all accesories(flashing etc) | m2
9.3 | Galvanized Steel Double Sheet Insulated Wall Cladding including all accesories(flashing etc) | m2
10 | Architectural Works (Walls)
10.1 | 300 mm thick brickwork façade wall inculdiing external thermal insulation (sandwich- double brick) | m2
10.2 | 200 mm thick brickwork façade wall with external heat insulation | m2
10.3 | 150mm thick brickwork inside wall | m2
10.4 | Gypsum Board partition wall(including all accessories) | m2
11 | Architectural Works (Suspended Ceilings)
11.1 | Aluminum suspended ceiling | m2
11.2 | Acoustical Ceilings | m2
11.3 | Gypsum Suspended Celing | m3
11.4 | Rockwool Suspended Ceiling | m3
12 | Architectural Works (Floor Finishes)
12.1 | Non slip Ceramic tiles for sanitary&kitchen rooms (min. 8mm thick) | m2
12.2 | Glazed ceramic tiles (min 8mm thick) | m2
12.3 | Glazed Heavy duty ceramic skirting (h=70mm) | m
12.4 | Heavy duty epoxy paint for R/C floors | m2
12.5 | Electrolite/chemical resistant flooring or ceramic tiling | m2
12.6 | Acid resistant tiles | m2
12.7 | Raised Floor(including all acces. and supports) | m2
12.8 | Laminated parquet flooring | m2
13 | Architectural Works (Plastering)
13.1 | Interior Wall Plaster(gypsium-thk 20 mm) | m2
13.2 | Exterior Wall Plaster(cement-thk 30 mm) | m2
13.3 | Ceiling Plaster(gypsium) | m2
14 | Architectural Works (Wall Finishing)
14.1 | Ceramic wall tiles | m2
14.2 | Interior Wall Paint ( Plastic water-based paint) | m2
14.3 | Exterior Wall Paint (Acrylic paint) | m2
14.4 | Acid resistant interior paint | m2
14.5 | Ceiling Paint (Water-based paint) | m2
14.6 | Epoxy wall painting (Interior walls) | m2
14.7 | Alucobond Cladding (External) | m2
14.8 | Marble Cladding | m2
15 | Architectural Works (Doors)
15.1 | 1000x2250 T60 steel door | no.
15.2 | 2000x2500 T60 double wing steel door | no.
15.3 | 4500x5000 motorized roller shutter door | no.
15.4 | 6000X4000 Sliding Door steel door | no.
15.5 | 2000x2500 double wing aluminum entrance door | no.
15.6 | 800x2000 Compacted Laminate Door for lavatories | no.
15.7 | 1000x2200 Wooden internal door | no.
15.8 | 1000x2250 Aluminum Door | no.
15.9 | 2000X2500 Aluminum double wing door | no.
16 | Architectural Works (Windows)
16.1 | PVC Window double glazed | m2
16.2 | Aluminum Window double glazed | m2
16.3 | Aluminum Louver | m2
17 | Insulation Works (Concrete)
17.1 | Insulation belowground concrete surface (Sika® Igolflex203 or equivalent according to data sheet)) including test and protection(pe sheet)- concrete surface will be calculated.(double coat) | m2
17.2 | Insulation belowground concrete surface- Double layer membrane(4mm+4mm) including test and protection(screed-sand-board etc)-concrete surface will be measured. | m2
17.3 | Insulation belowground concrete surface- Double layer membrane(4mm+4mm) including test- pond concrete surface will be measured. | m2
17.4 | Pe sheet (500 micron)for below slabs - concrete surface | m2
18 | Fences
18.1 | Site Internal Fence without Barbed Wires H=2m.including all civil works. | m
18.2 | Site Internal Fence door without Barbed Wires H=2m.. Door 2x4m including all civil works. | no.
18.3 | Site Internal Fence door without Barbed Wires H=2m.. Door 2x1,2m including all civil works. | no.
18.4 | Site External Fence with 3 rows Barbed Wires H=2 m including all civil works. | m
18.5 | Site External Fence Entrance Door 2x1,2m with barbed wire including all civil works. | no.
18.6 | Site External Fence Entrance Door 2x6m with barbed wire including all civil works. | no.
18.7 | Boundary Wall with Wrought Iron Fence. H:2.30 including all civil works. | m
19 | Roof Rain Water Drainages
19.1 | Ø100 UPVC Rainwater Down Pipe with all accessories | m
19.2 | Ø150 UPVC Rainwater Down Pipe with all accessories | m
19.3 | Ø200 UPVC Rainwater Down Pipe with all accessories | m
19.4 | Galvanized steel gutter (t=3mm) | m
20 | Underground Works (Drainage&Potable Water Works etc.)
20.1 | HDPE Corrugated Pipes Ø100 | m
20.2 | HDPE corrugated Pipes Ø150 | m
20.3 | HDPE corrugated Pipes Ø200 | m
20.4 | HDPE corrugated Pipes Ø250 | m
20.5 | HDPE corrugated Pipes Ø300 | m
20.6 | HDPE corrugated Pipes Ø400 | m
20.7 | PVC Pipe for Electrical Conduits Ø200 | m
20.8 | PC Concrete Pipe Ø300 | m
20.9 | PC Concrete Pipe Ø600 | m
20.10 | PC Concrete Pipe Ø900 | m
20.11 | 0,8mx0,8m(internal size) 0,5m to 1 m depth(ground to invert level) catch basin with cast iron grating(30mm thick), including all works (formwork, concrete, steel, cover, sealing works etc.) | no.
20.12 | 1,2mx1,2m(internal size) 1m to 2,0m depth (ground to invert level) catch basin with cast iron grating(30mm thick), including all works (formwork, concrete, steel, cover, sealing works etc.) | no.
20.13 | 1mx1 m(internal size) 0,5m to 1,0m depth(ground to invert level) storm/sewage pit with cast iron manhole cover .including all works (formwork, concrete, steel, cover(d400), sealing works etc.) | no.
20.14 | 1,2mx1,2 m(internal size) 1m to 2m depth (ground to invert level) storm/sewage pit with cast iron manhole cover .including all works (formwork, concrete, steel, cover(d400), sealing works etc.) | no.
20.15 | 1,5mx1,5 m(internal size) 2m to 3m depth(ground to invert level) storm/sewage pit with cast iron manhole cover including all works (formwork, concrete, steel, cover(d400), sealing works etc.) | no.
20.16 | 0,8mx0,8m(internal size) 0,5m to 1 m depth(ground to invert level) potable water valve pit with chequered plate cover, including all works (formwork, concrete, steel, cover, sealing works etc.) | no.
20.17 | 1,2mx1,2m(internal size) 1,2m depth(ground to invert level) fire water valve pit with chequered plate cover, including all works (formwork, concrete, steel, cover, sealing works etc.) | no.
20.18 | 1,5mx1,5m(internal size) 1,5m depth electrical pit with concrete cover, including all works (formwork, concrete, steel, sealing, works etc.) | no.
21 | Other Works
21.1 | Building Furniture & Equipment | m2
21.2 | Walkable Roof Insulation (inculiding heat and water insulation -screed,membrane, insulation material, gravel etc.) | m2
21.3 | Sanitary Installation | set
21.4 | Room Designation signs 260 x 100 x 4 aluminum | no.
21.5 | Water Stop at Construction & Expansion Joints | m
21.6 | Concrete Road (incl. 300 mm excavation, 300 mm filling with imported material, 2 layers of PE sheet, 200 mm C25/30 concrete, 2 layers of Q188x188 wire mesh, formwork. Excluding joints, kerb and marking) | m2
21.7 | Asphalt Road (incl. 250 mm subbase, 200 mm base, 100 mm bitumen layer, 60 mm binder and 50 mm wearing) | m2
21.8 | Joint cutting & sealing(including back-up rods) | m
21.9 | Road Protection (Barrier, rail etc.) | m
21.10 | Road Marking | m2
21.11 | Kerbstone (15x30 cm) | m
21.12 | Landscaping | m2
21.13 | Green Planted area (only grass including sprinler watering system) | m2
21.14 | Demolition | m3
21.15 | Railroad | m
21.16 | Container | set
21.17 | Concrete for stairs | m3