## BOQ
index | NO | NAME | UNIT | TOTAL QUANTITIES | Unit Material Price | Unit Construction Price | Unit Material + Construction Price | Total Material Price | Total Construction Price | Total Price | Unit Manhour | Total Manhour | GT 9E.03 | BY-PASS STACK | Anti Icing Skid | CO2 Skid | sf2
[13 empty] | GT FOUNDATION | STACK | SKID | SKID | SINGLE FOOTING
0 | 1 | Piling Works
1 | 1.1 | Ø 650 R/C Bored Piles including cut-off and testing | m
2 | 1.2 | Ø 800 R/C Bored Piles including cut-off and testing | m
3 | 1.3 | Ø 600 Jet Grout including testing | m
4 | 1.4 | Steel Sheet Piling (150 kg/m2) | m2
5 | 1.5 | Ø 300 PC Conrete Piles including testing | m
6 | 2 | Earth Works
7 | 2.1 | Site survey & Geotech. Survey & Report | m2
8 | 2.2 | Vegatative top soil removal, aprrox-30 cm depth ,transport within 2 km and dump. | m3
9 | 2.3 | Site levelling (within 1 meter elevation differance) | m2
10 | 2.4 | Excavation (non rocky) in any depth(including shoring-dewatering-baricating and all necessary works)- transportation and dump within 2 km. | m3 | [9 empty] | 2674.02 | 27.66 | 0 | 0 | 31.18
11 | 2.5 | Excavation (rock) in any depth(including shoring-dewatering-baricating and all necessary works)- transportation and dump within 2 km. | m3
12 | 2.6 | Hand Excavation (non rocky) in any depth(including shoring-dewatering-baricating and all necessary works)- transportation and dump within 2 km. | m3
13 | 2.7 | Soil Improvement with stable non cohesive selected fill (soaked CBR>30) compacted to 95% Proctor(imported material) | m3 | [9 empty] | 839.84 | 27.66 | 0 | 0 | 32.66
14 | 2.8 | Additional fill to raise the area level (CBR>8 compacted to 95% proctor) with excavated material | m3
15 | 2.9 | Additional fill to raise the area level (CBR>8 compacted to 95% proctor) with imported material | m3
16 | 2.1 | Backfilling and compaction with imported material(Type A) | m3
17 | 2.11 | Backfilling and compaction with excavated material | m3 | [9 empty] | 1064.4726 | 1.02 | 0 | 0 | -1.68
18 | 2.12 | Sand filling for trench, membrane protection etc. | m3
19 | 2.13 | 75mm thick gravel layer | m2
20 | 2.14 | Gravel Roads(6 meterwide, 0,2m thick-including compaction) | m2
21 | 2.15 | Supply and Installation of Non-woven Geotextile 0.2 - 0.4 kg/m2 | m2
22 | 2.16 | Transportation and disposal of excavated material within 10 km | m3
23 | 3 | Concrete Works
24 | 3.1 | C12/15 Lean Concrete(including formwork) | m3 | [9 empty] | 35.52 | 3.92 | 48.8 | 3.88 | 0.46
25 | 3.2 | C30/37 Concrete for equipment foundations | m3 | [9 empty] | 851.622 | 6 | 29.81 | 19.56 | 4
26 | 3.3 | C30/37 Concrete for columns any hight | m3
27 | 3.4 | C30/37 Concrete for beams any hight | m3
28 | 3.5 | C30/37 Concrete for Walls any hight | m3
29 | 3.6 | C30/37 Concrete for Slabs any hight | m3
30 | 3.7 | C30/37 Concrete for Ground Slabs without screed | m3
31 | 3.8 | C30/37 Concrete for Ground Slabs with screed | m3
32 | 3.9 | C20/25 Concrete for Pavement | m3
33 | 3.1 | C25/30 Concrete for Road works | m3
34 | 3.11 | Non Shrink Grouting Under steel columns & equipments&pockets | m3 | [9 empty] | 12 | 4 | 0.09 | 0 | 2
35 | 3.12 | Levelling&Sloping Concrete-screed (max 70 mm thick.) | m3 | [9 empty] | 340.28 | 0 | 0 | 0 | 0
36 | 3.13 | Cement Grouting | m3
37 | 3.14 | Transportation & Installation of Precast Items | m3
38 | 4 | Formwork Works
39 | 4.1 | Formwork (any type-any height-including all supports&scaffolding) | m2 | [9 empty] | 796.36 | 24 | 86.07 | 16.34 | 17.6
40 | 5 | Reinforcement Works
41 | 5.1 | Ribbed Bars as per EN10080 fyk=400to600MPa | t | [9 empty] | 104.66 | 0.6 | 3.67 | 1.07 | 0.48
42 | 5.2 | Wire mesh Q188x188x6.5 | m2 | [9 empty] | 0 | 0 | 0 | 0 | 0
43 | 6 | Embedded Steel Works
44 | 6.1 | Embedded Plates, Profiles etc. | t | [9 empty] | 0 | 0 | 0 | 0 | 0
45 | 6.2 | M24 Anchorbolts Grade 5.6 | no. | [9 empty] | 0 | 0 | 32 | 2 | 8
46 | 6.3 | M30 Anchorbolts Grade 5.6 | no. | [9 empty] | 0 | 0 | 0 | 0 | 0
47 | 6.4 | M42 Anchorbolts Grade 5.6 | no. | [9 empty] | 0 | 0 | 0 | 0 | 0
48 | 6.5 | M56 Anchorbolts Grade 5.6 | no.
49 | 6.6 | M64 Anchorbolts Grade 5.6 | no.
50 | 7 | Structural Steel Works
51 | 7.1 | Steel profiles, plates | t | [9 empty] | 0 | 0 | 0 | 0 | 0
52 | 7.2 | Transformer Rails | m
53 | 7.3 | Switchyard steel structure | t
54 | 7.4 | Anti-Corrosion Coating for Steel Structures | m2
55 | 7.5 | Fire Proof Coating for Steel Structures | m2
56 | 8 | Secondary Steel Works
57 | 8.1 | S235JR CHS handrail with kick plates (w=18.0kg/m) | m
58 | 8.2 | S235JR CHS handrail without kick plates (w=13.5kg/m) | m
59 | 8.3 | Steel Grating 34/38 pitch t=3mm, h=30mm | m2
60 | 8.4 | S235JR 8mm chequered plate | m2
61 | 8.5 | 1000mm wide grating type stair step | no.
62 | 8.6 | Steel Ladder with security cage | m
63 | 8.7 | Steel Ladder without security cage | m
64 | 9 | Architectural Works (Cladding)
65 | 9.1 | Galvanized Steel Single Sheet Uninsulated Roof Cladding | m2
66 | 9.2 | Galvanized Steel Double Sheet Insulated Roof Cladding, including all accesories(flashing etc) | m2
67 | 9.3 | Galvanized Steel Double Sheet Insulated Wall Cladding including all accesories(flashing etc) | m2
68 | 10 | Architectural Works (Walls)
69 | 10.1 | 300 mm thick brickwork façade wall inculdiing external thermal insulation (sandwich- double brick) | m2
70 | 10.2 | 200 mm thick brickwork façade wall with external heat insulation | m2
71 | 10.3 | 150mm thick brickwork inside wall | m2
72 | 10.4 | Gypsum Board partition wall(including all accessories) | m2
73 | 11 | Architectural Works (Suspended Ceilings)
74 | 11.1 | Aluminum suspended ceiling | m2
75 | 11.2 | Acoustical Ceilings | m2
76 | 11.3 | Gypsum Suspended Celing | m3
77 | 11.4 | Rockwool Suspended Ceiling | m3
78 | 12 | Architectural Works (Floor Finishes)
79 | 12.1 | Non slip Ceramic tiles for sanitary&kitchen rooms (min. 8mm thick) | m2
80 | 12.2 | Glazed ceramic tiles (min 8mm thick) | m2
81 | 12.3 | Glazed Heavy duty ceramic skirting (h=70mm) | m
82 | 12.4 | Heavy duty epoxy paint for R/C floors | m2
83 | 12.5 | Electrolite/chemical resistant flooring or ceramic tiling | m2
84 | 12.6 | Acid resistant tiles | m2
85 | 12.7 | Raised Floor(including all acces. and supports) | m2
86 | 12.8 | Laminated parquet flooring | m2
87 | 13 | Architectural Works (Plastering)
88 | 13.1 | Interior Wall Plaster(gypsium-thk 20 mm) | m2
89 | 13.2 | Exterior Wall Plaster(cement-thk 30 mm) | m2
90 | 13.3 | Ceiling Plaster(gypsium) | m2
91 | 14 | Architectural Works (Wall Finishing)
92 | 14.1 | Ceramic wall tiles | m2
93 | 14.2 | Interior Wall Paint ( Plastic water-based paint) | m2
94 | 14.3 | Exterior Wall Paint (Acrylic paint) | m2
95 | 14.4 | Acid resistant interior paint | m2
96 | 14.5 | Ceiling Paint (Water-based paint) | m2
97 | 14.6 | Epoxy wall painting (Interior walls) | m2
98 | 14.7 | Alucobond Cladding (External) | m2
99 | 14.8 | Marble Cladding | m2
100 | 15 | Architectural Works (Doors)
101 | 15.1 | 1000x2250 T60 steel door | no.
102 | 15.2 | 2000x2500 T60 double wing steel door | no.
103 | 15.3 | 4500x5000 motorized roller shutter door | no.
104 | 15.4 | 6000X4000 Sliding Door steel door | no.
105 | 15.5 | 2000x2500 double wing aluminum entrance door | no.
106 | 15.6 | 800x2000 Compacted Laminate Door for lavatories | no.
107 | 15.7 | 1000x2200 Wooden internal door | no.
108 | 15.8 | 1000x2250 Aluminum Door | no.
109 | 15.9 | 2000X2500 Aluminum double wing door | no.
110 | 16 | Architectural Works (Windows)
111 | 16.1 | PVC Window double glazed | m2
112 | 16.2 | Aluminum Window double glazed | m2
113 | 16.3 | Aluminum Louver | m2
114 | 17 | Insulation Works (Concrete)
115 | 17.1 | Insulation belowground concrete surface (Sika® Igolflex203 or equivalent according to data sheet)) including test and protection(pe sheet)- concrete surface will be calculated.(double coat) | m2 | [9 empty] | 678.84 | 10 | 203.36 | 47.27 | 0.96
116 | 17.2 | Insulation belowground concrete surface- Double layer membrane(4mm+4mm) including test and protection(screed-sand-board etc)-concrete surface will be measured. | m2
117 | 17.3 | Insulation belowground concrete surface- Double layer membrane(4mm+4mm) including test- pond concrete surface will be measured. | m2
118 | 17.4 | Pe sheet (500 micron)for below slabs - concrete surface | m2 | [9 empty] | 680 | 2 | 0 | 0 | 4
119 | 18 | Fences
120 | 18.1 | Site Internal Fence without Barbed Wires H=2m.including all civil works. | m
121 | 18.2 | Site Internal Fence door without Barbed Wires H=2m.. Door 2x4m including all civil works. | no.
122 | 18.3 | Site Internal Fence door without Barbed Wires H=2m.. Door 2x1,2m including all civil works. | no.
123 | 18.4 | Site External Fence with 3 rows Barbed Wires H=2 m including all civil works. | m
124 | 18.5 | Site External Fence Entrance Door 2x1,2m with barbed wire including all civil works. | no.
125 | 18.6 | Site External Fence Entrance Door 2x6m with barbed wire including all civil works. | no.
126 | 18.7 | Boundary Wall with Wrought Iron Fence. H:2.30 including all civil works. | m
127 | 19 | Roof Rain Water Drainages
128 | 19.1 | Ø100 UPVC Rainwater Down Pipe with all accessories | m
129 | 19.2 | Ø150 UPVC Rainwater Down Pipe with all accessories | m
130 | 19.3 | Ø200 UPVC Rainwater Down Pipe with all accessories | m
131 | 19.4 | Galvanized steel gutter (t=3mm) | m
132 | 20 | Underground Works (Drainage&Potable Water Works etc.)
133 | 20.1 | HDPE Corrugated Pipes Ø100 | m
134 | 20.2 | HDPE corrugated Pipes Ø150 | m
135 | 20.3 | HDPE corrugated Pipes Ø200 | m
136 | 20.4 | HDPE corrugated Pipes Ø250 | m
137 | 20.5 | HDPE corrugated Pipes Ø300 | m
138 | 20.6 | HDPE corrugated Pipes Ø400 | m
139 | 20.7 | PVC Pipe for Electrical Conduits Ø200 | m
140 | 20.8 | PC Concrete Pipe Ø300 | m
141 | 20.9 | PC Concrete Pipe Ø600 | m
142 | 20.1 | PC Concrete Pipe Ø900 | m
143 | 20.11 | 0,8mx0,8m(internal size) 0,5m to 1 m depth(ground to invert level) catch basin with cast iron grating(30mm thick), including all works (formwork, concrete, steel, cover, sealing works etc.) | no.
144 | 20.12 | 1,2mx1,2m(internal size) 1m to 2,0m depth (ground to invert level) catch basin with cast iron grating(30mm thick), including all works (formwork, concrete, steel, cover, sealing works etc.) | no.
145 | 20.13 | 1mx1 m(internal size) 0,5m to 1,0m depth(ground to invert level) storm/sewage pit with cast iron manhole cover .including all works (formwork, concrete, steel, cover(d400), sealing works etc.) | no.
146 | 20.14 | 1,2mx1,2 m(internal size) 1m to 2m depth (ground to invert level) storm/sewage pit with cast iron manhole cover .including all works (formwork, concrete, steel, cover(d400), sealing works etc.) | no.
147 | 20.15 | 1,5mx1,5 m(internal size) 2m to 3m depth(ground to invert level) storm/sewage pit with cast iron manhole cover including all works (formwork, concrete, steel, cover(d400), sealing works etc.) | no.
148 | 20.16 | 0,8mx0,8m(internal size) 0,5m to 1 m depth(ground to invert level) potable water valve pit with chequered plate cover, including all works (formwork, concrete, steel, cover, sealing works etc.) | no.
149 | 20.17 | 1,2mx1,2m(internal size) 1,2m depth(ground to invert level) fire water valve pit with chequered plate cover, including all works (formwork, concrete, steel, cover, sealing works etc.) | no.
150 | 20.18 | 1,5mx1,5m(internal size) 1,5m depth electrical pit with concrete cover, including all works (formwork, concrete, steel, sealing, works etc.) | no.
151 | 21 | Other Works
152 | 21.1 | Building Furniture & Equipment | m2
153 | 21.2 | Walkable Roof Insulation (inculiding heat and water insulation -screed,membrane, insulation material, gravel etc.) | m2
154 | 21.3 | Sanitary Installation | set
155 | 21.4 | Room Designation signs 260 x 100 x 4 aluminum | no.
156 | 21.5 | Water Stop at Construction & Expansion Joints | m | [9 empty] | 0 | 8 | 0 | 0 | 8
157 | 21.6 | Concrete Road (incl. 300 mm excavation, 300 mm filling with imported material, 2 layers of PE sheet, 200 mm C25/30 concrete, 2 layers of Q188x188 wire mesh, formwork. Excluding joints, kerb and marking) | m2
158 | 21.7 | Asphalt Road (incl. 250 mm subbase, 200 mm base, 100 mm bitumen layer, 60 mm binder and 50 mm wearing) | m2
159 | 21.8 | Joint cutting & sealing(including back-up rods) | m | [9 empty] | 0 | 0 | 0 | 0 | 0
160 | 21.9 | Road Protection (Barrier, rail etc.) | m
161 | 21.1 | Road Marking | m2
162 | 21.11 | Kerbstone (15x30 cm) | m
163 | 21.12 | Landscaping | m2
164 | 21.13 | Green Planted area (only grass including sprinler watering system) | m2
165 | 21.14 | Demolition | m3
166 | 21.15 | Railroad | m
167 | 21.16 | Container | set
168 | 21.17 | Concrete for stairs | m3